## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Indradhanush Gas Grid Ltd.; EPMC- MECON Ltd.
Name of Work: Supply, installation, laying, termination, glanding, testing, commissioning of incomer power supply cable from NRL SS to RT NRL of IGGL - SOR Revision -2
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. 2. Methodology for Selection of Contractor(s) shall be as mentioned Section-II of the Tender. 3. Bidders are advised NOT to mention Rebate/Discount separately, either in the BOQ format or anywhere else in the offer. In case bidder(s) intend to offer any Rebate/Discount, they should include the same in the item rate(s) itself under the BOQ and indicate the discounted unit rate(s) only. In case, it is observed that any of the bidder(s) has/have mentioned Discount/Rebate separately, the same shall not be considered for evaluation. However, in the event of the bidder emerging as the lowest bidder, the Discount/Rebate offered by the bidder shall be considered for award of work and the same will be conclusive and binding on the bidder. 4. In case, bidder has not quoted for particular Location, then bidder must not fill up the prices in BOQ. 5. Necessary withholding taxes/TDS as per applicable Indian Income Tax Rules will be deducted. 6. Scope of Supply, Installation, Testing & commissioning, including Inspection, documentation etc., shall be strictly as per Material Requisition/ Scope of work and Bidding Document. 7. Bidder to clearly indicate 'Quoted' against each Sr. No. in the price column in the unpriced Price Schedule and % of taxes duties against relevant columns of taxes and duties. Bidders to submit Price part of above Price schedule in their Priced Bid and Unpriced part with the Unpriced Bid. 8. All the Columns of quoted items in the price schedule including currency must be filled with required information, as applicable. 9. Bidder must quote the price in enclosed Price Schedule formats only. The formats shall not be changed and/or retyped. For any deviation to the formats, offer may be rejected. 10. Quoted prices are firm and fixed till complete execution of the entire order. In case of discrepancy between unit price and the total price, the unit price shall prevail. 11.. Bidder confirm that contents of the preamble to the price schedule, bid document, material requisition and quoted his prices accordingly without any deviation. 14. Prices quoted shall include the following: a)All handling, transportation including marine transportation (if applicable), liaison, insurance, warehousing at owner location, handling as required including payment of all fee, charges, custom duty, commissioning spares etc. b)All design, engineering, supply, installation and Technical support and Guarantees. c)All documents including drawings, manuals etc. 15) Bidder shall supply of above items at required location as per job specification/scope of work.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Description of Items as per MR | Item Sl. No. as per MR | Qty (Nos.) | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | For Part1. Unit Ex-works price (including packing, forwarding, and GST on components and raw materials but excluding Inland Transportation to Delivery Location) including cost of Inspection by Third Party Agency, mandatory spares etc. (wherever applicable) For Part 2. Unit Price inclusive of all cost, levies etc. but excluding GST (CGST&SGST/UTGST or IGST) | For Part 1 only : Unit Inland transportation upto Delivery location and other costs incidental to delivery of goods | For Part 1 : GST (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 13 ) For part 2: GST (CGST&SGST/UTGST or IGST applicable on Col. (13) | For Part 1 : GST Amount (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 13 ) amount For part 2: GST Amount (CGST&SGST/UTGST or IGST applicable on Col. (13) | For Part 1 Only : GST (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 14) |  |  | For Part 1 Only : GST Amount (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 14) | For Part 1 : Unit FOT site price incl. inland transportaion, GST etc. Unit For Part 2 : Unit Price inclusive of all cost, levies etc. including GST (CGST&SGST/UTGST or IGST) | Harmonized System Nomenclature (HSN) / Service Accounting Code | [30 empty] | For Part 1 :Total FOT site price incl. inland transportaion, GST etc. For Part 2 : Total Price inclusive of all cost, levies etc. including GST (CGST&SGST/UTGST or IGST) | Total FOT site price incl. inland transportaion, GST etc. | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | PART 1 -Supply | [54 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Cable route survey, Procurement of LT cables, Cable trays, MS supports, Inspection of cables at manufacturer works, Transportation to RT NRL, loading/unloading, insurance, storage of complete materials as per tender specification (Storage at IGGL RT Station), data sheet, scope of work and route diagram enclosed with tender document. | [54 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Supply including inspection at manufacturer works, transportation, loading/unloading, insurance, storage of 1.1kV grade XLPE insulated, PVC sheathed, FRLS power and control cables (conforming to IS:7098 and specification) of following size- | [54 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | 3.5CX240 A2XFY FRLS Cable as per BIS 7098 Part-1 | S.1.1 | 5 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5 | 3.5CX120 2XFY CU, FRLS Cable as per BIS 7098 Part-1 | S.1.2 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Termination Kit-415 V, 240 Sqmm, Raychem/3M, 4 Core | S.1.3 | 8 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Straight Jointing Kit -415 V, 240 Sqmm, Raychem/3M, 4 Core | S.1.4 | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Cable Glands FLP (PESO Certified) Double Compression type- Suitable for 3.5CX240/120 A2Xfy FRLS cables. | S.1.5 | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Junction Box/DB-415V AC, 3P+N, 400A with MCCB (LSIG) & MFM with Bus-Bar, Power & Control terminals. | [54 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 415 V, 30 KA single front type outdoor Power JB to receive input power at SS#5 from PCC 314 of M/s NRL consisting of Cu bus bar, 400 Amp TPN MCCB (with LSIG & Shunt trip) complete with wiring, indication lamp, ammeter, voltmeter, MFM (Multi Function Meter with RS485) etc including all materials & accessories, with operating mechanism as per technical specification, data sheet. | S.1.6 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Supply of bus bar for extension in existing Panels (10*50 mm) with Al- Cu bimetallic (30-40 Cm length) at PCC314 SFU Feeder. | S.1.7 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12 | GI Cable tray-Hot Dip Galvanized Ladder Type cable trays with covers (as per IS 2629) including bends, tee, crosses, horizontal and vertical splices etc. as required including supply of all G.I hardwares and material as required as per standard drawings, specification and direction of Engineer-in-charge. | S.1.8 | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13 | GI Cable Tray- 300 MM clear width, Ladder type with dome type cover (75mm height and 2.5 mm thick sheet steel & galvanized 610 g/Sqm) | S.1.9 | 1300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Supply of MS Angle support 60x60x6 mm/ 50x50x6mm and channels for cable tray installation (For Support at every 2 m interval). | S.1.10 | 4 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supply of hume pipe heavy-duty load (500 mm dia) at road crossings. | S.1.11 | 80 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Supply of GI earth strip 25x3 mm, Galvanization as per BIS 12776:2002 | S.1.12 | 1300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supply of advance maintenance free earthing system with 3mtr earth electrode of low carbon steel with 250 micron copper coating with carbon based backfill compound (Resitivity of compound shall be less than 1 ohm-m) as per IS 3043/IEEE-80. | S.1.13 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  | 0 | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Total price including all costs, freight, insurance till commissioning, GST etc. | [53 empty] | 0 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | PART 2 - Site works (Laying, loading/unloading, termination, glanding, testing and commissioning of LT cables) | [54 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Installation, Erection of Hot Dip Galvanized Ladder Type cable trays (as per IS 2629) including bends, tee, crosses, horizontal & vertical splices, installation of earth strip in tray etc. as required, including installation of all G.I hardwares, MS angles & channels, welding, extension of existing cable supports where required, clamp for the earth conductor, hot work permission as required, all labour and miscellaneous material as required as per standard drawings, specification and direction of Engineer-in-charge and with all required safety & PPE equipment to complete the work. | SW.1 | 1300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Laying, termination of cables in the trays, laying through hume pipes & culverts, road crossings, including connection & termination of straight and end terminal jointing kit, testing and commissioning after installation & laying of LT Cable on GI cable trays including supply & fixing of lugs at both ends, cable markers and embossing on cable tray " IGGL Cable tray" by blue colour on every 25 meter. | SW.2 | 5 | KM |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22 | Miscellaneous Civil work (For installation of Cable tray, extension of stairs all required civil work to complete the installation of cable supports) -Extension of stair case near dyke area, foundations for the cable trays supports including PCC & RCC (Min M25) work wherever required and other civil works for cable tray installations (suit to site) with supply of all civil materials, reinforcement, including excavation & backfilling for foundations, civil foundation for the junction box installation, labour and materials etc. | SW.3 | 160 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Civil work (Excavation and Backfilling for road crossings including restoration) - excavation & restoration, back filling for road crossing of cables wherever required to lay cables though hume pipe including installation of hume pipe including the restoration to original state. (Depth, length & width of the excavation- suit to site). | SW.4 | 100 | M3 |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Installation of 415 V, 30 KA single front type outdoor Power JB on structure base including all mechanical & structure work for installation & structure shed suit to site (3m-h x 2.5m-wx2.5m-d) etc, earthing with existing grid, including all civil & structure materials. | SW.5 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25 | Installation of advance maintenance free earthing electrode including excavation, backfilling, installation, preparation of chamber and all civil works. | SW.6 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26 | Total price including all costs including GST for SiteWorks | [53 empty] | 0 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
27 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Site Works). 2.State wise quantity distribution of each Part is indicated in MR and Scope of work. 3. The above shall be read in conjunction with notes of MR and Scope of work. | [54 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information